## Explanation
Protocol Implementation Conformance Statement
OCPP 1.6 Certification
PICS Version: | 1.1.7
Date: | 2024-09-18
OCPP Spec Version | Edition 2 FINAL, 2017-09-28
OCPP Errata Version | Errata v4.0 Release, 2019-10-23
Security extension | Security Whitepaper Edition 3 (Improved security for OCPP 1.6-J v1.3, 2022-02-17)
Instruction
This document must be used to define the system that you want to certify in the Open Charge Alliance OCPP Certification Program for OCPP 1.6. By defining a system / device using this document, a vendor or certification lab can determine the exact test cases that have to be performed during the certification run for OCPP 1.6 certification. This document is only intended to be updated using Microsoft Excel. It contains many calculations to ensure that the combination of values is sound and as a tool for the user it also calculates which testcases are required. We have locked the sheet to ensure only the fields that are intended for input can be modified and are fully aware that it is possible to remove this protection. We cannot accept any filled in PICS documents that have the password protection removed or that have been modified using another program than Microsoft Excel. Doing so makes this PICS invalid and renders it unusable for starting your certification proces.
This document can be used by following these steps:
1 | Specify the hardware features of your Charging Station in column D of the tab "Hardware Feature set".
2 | Select the Certification Profiles that you want to certify during your Certification run in column C of the tab "Profile Selection"
3 | Specify which optional features you have implemented in your Charging Station in columns D and E of the tab "Optional features". Fill in all black fields, purple fields will be populated during certification
4 | Fill in the answer to the questions on the tab "Additional questions" (in column D)
5 | Fill in all settings / limitations that are relevant for certification in the tab "Other relevant settings".
6 | Fill in all settings that are specific to this vendor/device and relevant for certification in the tab "Vendor Specific Settings"
7 | You can now see the test cases that need to be passed on the tab "Charging Station Testcases" by filtering column H for the value "TRUE".
Before submitting this document to a testlab for a certification test:
8 | double-check the selected values entered in the steps above and be sure that the configuration specified will allow all required testcases to PASS. Please note that all values provided in the PICS will be shown on the Certificate.
9 | Enter your performance commitment in the tab 'Performance Measurement' in column C (black fields only, purple fields will be populated during certification)
10 | Ensure that all tabs that have a check show a green VALID status on the top row
Changelog:
1.1.7 | Fixed formula for test cases 085 and 086
1.1.6 | Fixed formula for test cases 083 and 084
1.1.5 | Fixed section for certificate generation
1.1.4 | Fixed formula for >2 connectors.
1.1.3 | Updated Metervalues measurands table
1.1.2 | Fixed formula references for performance measurements
1.1.1 | Added space for photo on statement of approval tab
1.1.0 | Minor corrections (related to R-1 and AQ-2) and added Metervalues measurands
1.0.0 | Initial version

## Hardware Feature set
Hardware feature set | [8 empty] | Hardware Feature Set is : | INVALID
| Vendor Name | <fill in your company name> | Connector Configuration
| Device Under Test | Charging Station | Connector | Current | Phases | Type | Cable Type
| Product Subtype | <select subtype or Not Applicable> | 1 |  |  |  |  | Please specify Current Type
| Product Designation | <type name and / or model number>
| OCPP Software Version | <type software version of the product>
Id | Feature | Supported / Present
HFS-1 | Has a detachable cable | No
HFS-2 | Has a fixed cable | No
HFS-3 | Has AC support | No
HFS-4 | Has DC support | No
HFS-5 | Has 1 phase support | No
HFS-6 | Has 2 phase support | No
HFS-7 | Has 3 phase support | No
HFS-8 | No. Connectors | 1
HFS-9 | Communication technology | <specify supported communication technology/ies>
HFS-10 | RFID readers | <select RFID Reader configuration>

## Profile selection
Profile selection
Certification Profile | Supported | Description
Core | Yes | Basic Charging Station, functionality for booting, authorization (incl. cache if available), configuration, transactions, remote control.
Firmware Management | No | Support for (remote) firmware update management and diagnostic log file download.
Local Authorization List Management | No | Features to manage a local list in the charging station containing authorization data for whitelisting users.
Smart Charging | No | Support for Smart Charging (all profile types, including stacking), to control charging.
Remote Trigger | No | Support for remotely triggering messages that originate from a Charging Station. This can be used for resending messages or for getting the latest information from the Charging Station.
Reservation | No | Support for reservation of a connector of a Charging Station.
OCPP 1.6 Security
Security extension (based on Security Whitepaper).
Certification Extension | Supported | Description
Security extension | No | Implementation of the whitepaper: Improved security for OCPP 1.6-J

## Optional features
Optional features |  |  | List of Optional Features is currently: | INVALID
Id | Core Features | Supported / Present
C-01 | Support for offline authorization of transactions | No | <-- This cell is based on a calculation: Local Authorization list profile supported OR C- 02="Yes" OR C-04="Yes"
C-02 | Support for allowing Offline Authorization for Unknown Ids (AllowOfflineTxForUnknownId) | No
C-03 | Support for maximizing energy for invalid ids (MaxEnergyOnInvalidId) | No
C-04 | Authorization Cache (AuthCacheEnabled) | No
C-05 | Support to limit StatusNotifications (MinimumStatusDuration) | No
C-06 | Authorization status after cable disconnected on EV side (StopTxOnEVSideDisconnect) | (At least one of the suboptions below is required)
C-06.1 | Support for maintaining authorization when cable disconnected on EV side | Yes
C-06.2 | Support for not maintaining authorization when cable disconnected on EV side | No
C-07 | Support for local start | Yes
C-08 | Support for local stop | Yes
Id | Metervalues | Tested during Certification** | Supported according to Vendor***
C-09 | Supported MeterValue Measurands
C-09.1 | MeterValuesSampledData | <will be filled in by testlab> | <list of supported values, at least one> | <---- Please enter a valid list of supported measurands
C-09.2 | MeterValuesAlignedData | <will be filled in by testlab> | <list of supported values, at least one> | <---- Please enter a valid list of supported measurands
Id | Certification Profile: Firmware Management | Supported / Present
F-1 | Support for Secure Firmware Updates | FALSE
Id | Certification Profile: Smart Charging | Supported / Present
SC-1 | Supported charging rate units (ChargingScheduleChargingRateUnit) | (Select all supported suboptions)
SC-1.1 | A | No
SC-1.2 | W | No
Id | Certification Profile: Reservation | Supported / Present
R-1 | Support reservations of entire Charging Station | No
Id | Security extension | Supported / Present
SEC-1 | Security Profile 1: Unsecured Transport with Basic Authentication | No
SEC-2 | Security Profile 2: TLS (1.2 or higher) with Basic Authentication | No
SEC-3 | Security Profile 3: TLS (1.2 or higher) with Client Side Certificates | No
Id | Security extension : Cipher Suites | Supported / Present
SEC-4 | Supported Cipher Suites | { list of cipher suites } -> at least one of + TLS_ECDHE_ECDSA_WITH_AES_128_GCM_SHA256 + TLS_ECDHE_ECDSA_WITH_AES_256_GCM_SHA384 + OR + TLS_RSA_WITH_AES_128_GCM_SHA256 + TLS_RSA_WITH_AES_256_GCM_SHA384

## Additional questions
| Additional questions |  | List of Additional Questions is currently: | VALID
Id | Additional questions for lab testing | Supported / present
AQ-1 | Can the last CentralSystemRootCertificate can be removed? | No
AQ-2 | Does the Charging Station have a cable lock, which prevents the EV driver to connect the EV and EVSE before authorization? | No
AQ-3 | Can the last ChargePointCertificate be removed (via other means than OCPP)? | No
AQ-4 | Is your Charging Station able to download firmware while there is an ongoing transaction? | No
AQ-5 | Does your Charging Station enforce a selection of EVSE (by design) prior to authorization? | No
AQ-6 | Does your Charging Station support charging an EV using IEC 61851-1 (Mode 3)? | No
AQ-7 | Reporting of StopTransaction after power loss | (At least one of the suboptions below is required)
AQ-7.1 | Charge Point configured to report StopTransaction(s) before going down. | No
AQ-7.2 | Charge Point configured to report StopTransaction(s) after going down and being back online again. | Yes

## Other relevant settings
Other relevant Settings |  |  | List of Other Relevant Settings is currently: | INVALID
Id | Limit / Setting | Value
ORS-1 | GetConfigurationMaxKeys | …
ORS-2 | MeterValuesAlignedDataMaxLength | …
ORS-3 | MeterValuesSampledDataMaxLength | …
ORS-4 | Minimum MeterValueSampleInterval supported | …
ORS-5 | Maximum MeterValueSampleInterval supported | …
ORS-6 | Minimum HeartbeatInterval supported | …
ORS-7 | Maximum HeartbeatInterval supported | …
ORS-8 | StopTransactionMaxMeterValues | …
ORS-9 | StopTxnAlignedDataMaxLength | …
ORS-10 | StopTxnSampledDataMaxLength | …
ORS-11 | WebSocketPingInterval | <please provide the preconfigured value (max. 120 seconds)>
Id | Certification Profile: Local Authorization List Management | Value
ORS-12 | LocalAuthListMaxLength | …
ORS-13 | SendLocalListMaxLength | …
Id | Certification Profile: Smart Charging | Value
ORS-14 | ChargingProfileMaxStackLevel | …
ORS-15 | ChargingScheduleMaxPeriods | …
Id | Firmware Management Settings | Value
ORS-16 | Supported file transfer protocols | ...

## Vendor Specific Settings
Vendor specific settings and limits
The table below should contain all relevant non-OCPP settings of the System Under Test that are relevant for the test laboratory and for the correct OCPP-compliant functioning :
Configuration Setting | Configured Value | Description
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …
… | ... | …
… | … | …

## HIDDEN Testrun Results (hidden)
Id | Value

## Performance Measurement
Performance measurement |  |  |  |  | Performance Measurement is currently: | INVALID
Vendor provided performance values
Name | Max Value | Unit | Description
OCPP response timeout | <vendor maximum> | seconds | The timeout used for exchanging OCPP response messages. Messages to the DUT can be handled within this timeout.
OCPP triggered function timeout | <vendor maximum> | seconds | The timeout used for when waiting for an OCPP function with its corresponding request message (e.g. time between receiving ChangeAvailability.conf and StatusNotification.req). Messages to the DUT can be handled within this timeout. This value excludes firmware, diagnostics and rebooting (e.g. based on a reset)
Transaction authorization time by RemoteStartTransaction | <vendor maximum> | seconds | The time between the RemoteStartTransaction.req message and the corresponding StartTransaction.req. Only cases where the RemoteStartTransaction immediately results in an authorization followed by a StartTransaction.req are included.
Transaction authorization end time by RemoteStopTransaction | <vendor maximum> | seconds | The time between the RemoteStopTransaction.req message and the corresponding StopTransaction.req. Only cases where the RemoteStopTransaction immediately results in an end of the authorization followed by a StopTransaction.req are included.
Measured performance (filled in by testlab after completion of the tests)
Name | Min Value | Max Value | Average Value | Unit
OCPP response timeout | <min. measurement> | <max. measurement> | <avg. measurement> | seconds
OCPP triggered function timeout | <min. measurement> | <max. measurement> | <avg. measurement> | seconds
Transaction authorization time by RemoteStartTransaction | <min. measurement> | <max. measurement> | <avg. measurement> | seconds
Transaction authorization end time by RemoteStopTransaction | <min. measurement> | <max. measurement> | <avg. measurement> | seconds
Communication technology used during performance measurement: | <WiFi / ethernet / mobile>
Please note: only 1 communication technology is measured for performance, so if multiple technologies available in a Charging Station, please select for which the measurements should be executed by the lab.

## Charging Station Testcases
Testcase | Certification Profile / Security | Name | Mandatory / Conditional | Feature ID | Feature Name | Status | Perform test for certification (based on PICS) | Perform test for certification | Pure optional | Profile selected | Test lab result | Test lab remark
TC_001_CS | Core | Cold Boot Charge Point | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_002_CS | Core | Cold Boot Charge Point - Pending | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_003_CS | Core | Regular Charging Session - Plugin First | Possibly mandatory, depending on your system | C-07 AND C-08 AND NOT AQ-2 | Support for local start and stop |  | 1 | 1 | FALSE | TRUE
TC_004_1_CS | Core | Regular Charging Session – Identification First | Mandatory for optional feature | C-07 AND C-08 | Support for local start and stop |  | 1 | 1 | FALSE | TRUE
TC_004_2_CS | Core | Regular Charging Session – Identification First - ConnectionTimeOut | Mandatory for optional feature | C-07 | Support for local start |  | TRUE | TRUE | FALSE | TRUE
TC_068_CS | Core | Stop transaction - IdTag in StopTransaction matches IdTag in StartTransaction | Mandatory for optional feature | C-07 AND C-08 | Support for local start and stop |  | 1 | 1 | FALSE | TRUE
TC_069_CS | Core | Stop transaction - ParentIdTag in StopTransaction matches ParentIdTag in StartTransaction | Mandatory for optional feature | C-07 AND C-08 | Support for local start and stop |  | 1 | 1 | FALSE | TRUE
TC_005_1_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = true - UnlockConnectorOnEVSideDisconnect = true | Mandatory for optional feature | NOT Product subtype Mode 1/2-only Charging Station AND NOT HFS-2 AND C.06.2 | StopTransactionOnEVSideDisconnect = true Condition: The Charge Point does not have a fixed cable on Charge Point side AND The configuration key StopTransactionOnEVSideDisconnect does NOT have the accessibility ReadOnly in combination with value false. Not applicable for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_005_2_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = true - UnlockConnectorOnEVSideDisconnect = false | Mandatory for optional feature | Product subtype Mode 1/2-only Charging Station OR C.06.2 | StopTransactionOnEVSideDisconnect = true Condition: The configuration key StopTransactionOnEVSideDisconnect does NOT have the accessibility ReadOnly in combination with value false. Mandatory for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_005_3_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = false - UnlockConnectorOnEVSideDisconnect = false | Mandatory for optional feature | NOT Product subtype Mode 1/2-only Charging Station AND C06.1 | StopTransactionOnEVSideDisconnect = false Not applicable for product subtype Mode 1/2-only Charging Station. |  | 1 | 1 | FALSE | TRUE
TC_007_CS | Core | Regular Start Charging Session – Cached Id | Mandatory for optional feature | C-04 | Authorization Cache (AuthCacheEnabled) |  | FALSE | FALSE | FALSE | TRUE
TC_061_CS | Core | Clear Authorization Data in Authorization Cache | Mandatory for optional feature | C-04 AND C-07 AND C-08 | Support for local start and stop AND Authorization Cache (AuthCacheEnabled) |  | 0 | 0 | FALSE | TRUE
TC_010_CS | Core | Remote Start Charging Session – Cable Plugged in First | Possibly mandatory, depending on your system | NOT AQ-2 |  |  | 1 | 1 | FALSE | TRUE
TC_011_1_CS | Core | Remote Start Charging Session – Remote Start First | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_011_2_CS | Core | Remote Start Charging Session – Time Out | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_012_CS | Core | Remote Stop Charging Session | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_013_CS | Core | Hard Reset Without transaction | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_014_CS | Core | Soft Reset Without Transaction | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_015_CS | Core | Hard Reset With Transaction | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_016_CS | Core | Soft Reset With Transaction | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_017_1_CS | Core | Unlock connector - no charging session running (Not fixed cable) | Possibly mandatory, depending on your system | HFS-1 AND NOT Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a detachable cable. Not applicable for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_017_2_CS | Core | Unlock connector - no charging session running (Fixed cable) | Possibly mandatory, depending on your system | HFS-2 OR Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a fixed cable. Mandatory for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_018_1_CS | Core | Unlock Connector - With Charging Session (Not fixed cable) | Possibly mandatory, depending on your system | HFS-1 AND NOT Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a detachable cable. Not applicable for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_018_2_CS | Core | Unlock Connector - With Charging Session (Fixed cable) | Possibly mandatory, depending on your system | HFS-2 OR Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a fixed cable. Mandatory for product subtype Mode 1/2-only Charging Station. |  | 0 | 0 | FALSE | TRUE
TC_019_CS | Core | Retrieve configuration | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_021_CS | Core | Change/set Configuration | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_070_CS | Core | Sampled Meter Values | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_071_CS | Core | Clock-aligned Meter Values | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_023_CS | Core | Start Charging Session – Authorize invalid | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_024_CS | Core | Start Charging Session - Lock Failure | Optional test case | NOT HFS-2 | Only applicable if the Charge Point does not have a fixed cable on Charge Point side. |  | Up to vendor | 1 | TRUE | TRUE
TC_026_CS | Core | Remote Start Charging Session – Rejected | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_028_CS | Core | Remote Stop Transaction – Rejected | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_030_CS | Core | Unlock Connector – Unlock Failure | Optional test case |  |  |  | Up to vendor | #N/A | TRUE | TRUE
TC_031_CS | Core | Unlock Connector – Unknown Connector | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_032_1_CS | Core | Power failure boot charging point - configured to stop transaction(s) before going down | Possibly mandatory, depending on your system | AQ-7.1 | Only applicable for a Charge Point configured to stop transaction(s) before going down. |  | 0 | 0 | FALSE | TRUE
TC_032_2_CS | Core | Power failure boot charging point-configured to stop transaction(s) | Mandatory for optional feature | AQ-7.2 | Only applicable for a Charge Point configured to stop transaction(s) after going down and being back online again. |  | 1 | 1 | FALSE | TRUE
TC_034_CS | Core | Power Failure with Unavailable Status | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_036_CS | Core | Connection Loss During Transaction | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_037_1_CS | Core | Offline Start Transaction - Valid IdTag | Mandatory for optional feature | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using valid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true |  | 0 | 0 | FALSE | TRUE
TC_037_2_CS | Core | Offline Start Transaction - Invalid IdTag - StopTransactionOnInvalidId = false | Mandatory for optional feature | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using invalid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true, StopTransactionOnInvalidId = false Please note: as with all Charging Stations, this test case is also applicable for product subtype Mode 1/2-only Charging Station (depending on the above conditions). |  | 0 | 0 | FALSE | TRUE
TC_037_3_CS | Core | Offline Start Transaction - Invalid IdTag - StopTransactionOnInvalidId = true | Mandatory for optional feature | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using invalid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true, StopTransactionOnInvalidId = true |  | 0 | 0 | FALSE | TRUE
TC_038_CS | Core | Offline Stop Transaction | Mandatory for optional feature | C-08 | Only applicable for a Charge Point which supports local stop transaction. |  | TRUE | TRUE | FALSE | TRUE
TC_039_CS | Core | Offline Transaction | Mandatory for optional feature | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. |  | 0 | 0 | FALSE | TRUE
TC_040_1_CS | Core | Configuration key - NotSupported | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_040_2_CS | Core | Configuratoin key - Invalid value | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_042_1_CS | Core | Get Local List Version (not supported) | Possibly mandatory, depending on your system | If Local List not supported by Charging Station. |  |  | 1 | 1 | FALSE | TRUE
TC_042_2_CS | Local Authorization List Management | Get Local List Version (empty) | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_043_CS | Local Authorization List Management | Send Local Authorization List | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_043_1_CS | Core | Send Local Authorization List - NotSupported | Possibly mandatory, depending on your system | If Local List not supported by Charging Station. |  |  | 1 | 1 | FALSE | TRUE
TC_043_2_CS | Local Authorization List Management | Send Local Authorization List - VersionMismatch | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_043_3_CS | Local Authorization List Management | Send Local Authorization List - Failed | Optional test case |  |  |  | Up to vendor | #N/A | TRUE | FALSE
TC_008_CS | Local Authorization List Management | Regular Start Charging Session – Id in Local Authorization List | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_044_1_CS | Firmware Management | Firmware Update - Download and Install | Possibly mandatory, depending on your system | NOT Security supported | Only applicable if the DUT does not support security. Should fail in case security supported. |  | FALSE | 1 | FALSE | FALSE
TC_044_2_CS | Firmware Management | Firmware Update - Download Failed | Possibly mandatory, depending on your system | NOT Security supported | Only applicable if the DUT does not support security. |  | FALSE | 1 | FALSE | FALSE
TC_044_3_CS | Firmware Management | Firmware Update - Installation Failed | Possibly mandatory, depending on your system | NOT Security supported | Only applicable if the DUT does not support security. |  | FALSE | 1 | FALSE | FALSE
TC_045_1_CS | Firmware Management | Get Diagnostics | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_045_2_CS | Firmware Management | Get Diagnostics - Upload Failed | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_046_1_CS | Reservation | Reservation of a Connector - Local start transaction | Mandatory for optional feature | C-07 | Only applicable for a Charge Point which supports local start transaction. |  | FALSE | TRUE | FALSE | FALSE
TC_046_2_CS | Reservation | Reservation of a Connector - Remote start transaction | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_047_CS | Reservation | Reservation of a Connector - Expire | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_048_2_CS | Reservation | Reservation of a Connector - Occupied | Possibly mandatory, depending on your system | NOT AQ-2 |  |  | FALSE | 1 | FALSE | FALSE
TC_048_3_CS | Reservation | Reservation of a Connector - Unavailable | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_048_4_CS | Reservation | Reservation of a Connector - Rejected | Optional test case |  |  |  | Up to vendor | #N/A | TRUE | FALSE
TC_049_CS | Reservation | Reservation of a Charge Point - Transaction | Mandatory for optional feature | R-1 | Support reservations of entire Charging Station |  | FALSE | FALSE | FALSE | FALSE
TC_050_2_CS | Reservation | Reservation of a Charge Point - Occupied | Mandatory for optional feature | R-1 AND NOT AQ-2 | Support reservations of entire Charging Station |  | FALSE | 0 | FALSE | FALSE
TC_050_3_CS | Reservation | Reservation of a Charge Point - Unavailable | Mandatory for optional feature | R-1 | Support reservations of entire Charging Station |  | FALSE | FALSE | FALSE | FALSE
TC_051_CS | Reservation | Cancel Reservation | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_052_CS | Reservation | Cancel Reservation - Rejected | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_053_CS | Reservation | Use a reserved Connector with parentIdTag | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_054_CS | Remote Trigger | Trigger Message | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_055_CS | Remote Trigger | Trigger Message - Rejected | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_056_CS | Smart Charging | Central Smart Charging - TxDefaultProfile | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_057_CS | Smart Charging | Central Smart Charging - TxProfile | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_058_1_CS | Smart Charging | Central Smart Charging - No ongoing transaction | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_058_2_CS | Smart Charging | Central Smart Charging - Wrong transactionId | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_082_CS | Smart Charging | Central Smart Charging - TxDefaultProfile - with ongoing transaction | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_066_CS | Smart Charging | Get Composite Schedule | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_067_CS | Smart Charging | Clear Charging Profile | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_072_CS | Smart Charging | Stacking Charging Profiles | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Prerequisite: support for 2 stack levels is required. Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_059_CS | Smart Charging | Remote Start Transaction with Charging Profile | Possibly mandatory, depending on your system | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | 1 | FALSE | FALSE
TC_062_CS | Core | Data Transfer to a Charge Point | Mandatory test for a mandatory feature |  |  |  | TRUE | TRUE | FALSE | TRUE
TC_060_CS | Smart Charging | Remote Start Transaction with Charging Profile - Rejected | Mandatory test for a mandatory feature |  | Not applicable for product subtype Mode 1/2-only Charging Station. |  | FALSE | TRUE | FALSE | FALSE
TC_073_CS | Security extension | Update Charge Point Password for HTTP Basic Authentication | Possibly mandatory, depending on your system | Only applicable if the Charge Point supports security profile 1 or 2. |  |  | FALSE | 0 | FALSE | FALSE
TC_074_CS | Security extension | Update Charge Point Certificate by request of Central System | Possibly mandatory, depending on your system | Only applicable if the DUT supports security profile 3. |  |  | FALSE | 0 | FALSE | FALSE
TC_075_1_CS | Security extension | Install a certificate on the Charge Point - ManufacturerRootCertificate | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_075_2_CS | Security extension | Install a certificate on the Charge Point - CentralSystemRootCertificate | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_076_CS | Security extension | Delete a specific certificate from the Charge Point | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_077_CS | Security extension | Invalid ChargePointCertificate Security Event | Possibly mandatory, depending on your system | Only applicable if the DUT supports security profile 3. |  |  | FALSE | 0 | FALSE | FALSE
TC_078_CS | Security extension | Invalid CentralSystemCertificate Security Event | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_079_CS | Security extension | Get Security Log | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_080_CS | Security extension | Secure Firmware Update | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_081_CS | Security extension | Secure Firmware Update - Invalid Signature | Mandatory test for a mandatory feature |  |  |  | FALSE | TRUE | FALSE | FALSE
TC_083_CS | Security extension | Upgrade security profile | Possibly mandatory, depending on your system | Only applicable if the DUT supports multiple security profiles |  |  | FALSE | 0 | FALSE | FALSE
TC_084_CS | Security extension | Downgrade security profile - Rejected | Possibly mandatory, depending on your system | Only applicable if the DUT supports multiple security profiles |  |  | FALSE | 0 | FALSE | FALSE
TC_085_CS | Security extension | Basic Authentication - Valid username/password combination | Possibly mandatory, depending on your system | Only applicable if the DUT supports security profile 1 or 2. |  |  | FALSE | 0 | FALSE | FALSE
TC_086_CS | Security extension | TLS - server-side certificate - Valid certificate | Possibly mandatory, depending on your system | Only applicable if the DUT supports security profile 2 or 3. |  |  | FALSE | 0 | FALSE | FALSE
TC_087_CS | Security extension | TLS - Client-side certificate - valid certificate | Possibly mandatory, depending on your system | Only applicable if the DUT supports security profile 3. |  |  | FALSE | 0 | FALSE | FALSE

## Statement of Approval
| Statement of Approval |  |  |  | Statement of Approval is currently: | INVALID
I hereby declare that the information provided in the document is correct and complete and that I approve this document to be submitted for OCPP 1.6 certification based on this information.
Vendor |  | Date: | <signature date> | <---- Please enter a valid date
Name | <vendor representative name> | Signature: |  | <---- Please enter a valid value
Company | <vendor name> |  |  | <---- Please enter a valid value
Department | <vendor department name> |  |  | <---- Please enter a valid value
Position | <vendor representative position> |  |  | <---- Please enter a valid value
Location | <vendor location> |  |  | <---- Please enter a valid value
Test laboratory |  | Date: | <signature date> | <---- Please enter a valid date
Test Performed On | <date the test lab completed testing> | Signature: |  | <---- Please enter a valid date
Test Location | <location where tests are performed> |  |  | <---- Please enter a valid value
Test Report Reference | <internal testlab reference> |  |  | <---- Please enter a valid value
Name | <testlab representative name> |  |  | <---- Please enter a valid value
Name reviewer | <optional testlab reviewer name> |  |  | <---- Please enter a valid value or leave empty when not applicable
Company | <testlab organization name> |  |  | <---- Please enter a valid value
Department | <testlab department name> |  |  | <---- Please enter a valid value
Position | <testlab representative position> |  |  | <---- Please enter a valid value
Location | <testlab location> |  |  | <---- Please enter a valid value
Photo('s) of tested Charging Stations (taken and added by test lab):

## HIDDEN calc sheet (hidden)
Key | Value (based on formula) | Optional feature related | Used |  | Check features use
C-04 AND C-07 | FALSE | TRUE | FALSE
Only applicable if the DUT supports security profile 3. | FALSE | FALSE | TRUE
If Local List not supported by Charging Station. | TRUE | FALSE | TRUE
Not applicable for product subtype Mode 1/2-only Charging Station. | TRUE | FALSE | FALSE
Prerequisite: support for 2 stack levels is required. Not applicable for product subtype Mode 1/2-only Charging Station. | TRUE | FALSE | FALSE
HFS-1 AND NOT Product subtype Mode 1/2-only Charging Station. | FALSE | FALSE | TRUE
HFS-2 OR Product subtype Mode 1/2-only Charging Station. | FALSE | FALSE | TRUE
NOT HFS-2 | TRUE | FALSE | TRUE
C-01 AND C-07 | FALSE | TRUE | FALSE
AQ-7.1 | FALSE | TRUE | TRUE
AQ-7.2 | TRUE | TRUE | TRUE
Only applicable if the Charge Point supports security profile 1 or 2. | FALSE | FALSE | TRUE
NOT Product subtype Mode 1/2-only Charging Station AND C06.1 | TRUE | TRUE | TRUE | x
NOT Product subtype Mode 1/2-only Charging Station AND NOT HFS-2 AND C.06.2 | FALSE | TRUE | TRUE
Product subtype Mode 1/2-only Charging Station OR C.06.2 | FALSE | TRUE | TRUE
NOT Product subtype Mode 1/2-only Charging Station | TRUE | FALSE | TRUE
C-07 AND C-08 | TRUE | TRUE | TRUE
C-04 AND C-07 AND C-08 | FALSE | TRUE | TRUE
C-01 AND C-07 AND C-08 | FALSE | TRUE | TRUE
NOT Security supported | TRUE | FALSE | TRUE
Only applicable if the DUT supports multiple security profiles | FALSE | FALSE | TRUE
Only applicable if the DUT supports security profile 1. | FALSE | FALSE | FALSE
Only applicable if the DUT supports security profile 2. | FALSE | FALSE | FALSE
NOT AQ-2 | TRUE | FALSE | TRUE
C-07 AND C-08 AND NOT AQ-2 | TRUE | FALSE | TRUE
R-1 AND NOT AQ-2 | FALSE | TRUE | TRUE
Only applicable if the DUT supports security profile 1 or 2. | FALSE | FALSE | TRUE
Only applicable if the DUT supports security profile 2 or 3. | FALSE | FALSE | TRUE

## HIDDEN import (hidden)
Helper | Testcase | Certification Profile | Name | CS Status | Feature ID | Feature Name
TC_001_CS Core | TC_001_CS | Core | Cold Boot Charge Point | M
TC_002_CS Core | TC_002_CS | Core | Cold Boot Charge Point - Pending | M
TC_003_CS Core | TC_003_CS | Core | Regular Charging Session - Plugin First | C | C-07 AND C-08 AND NOT AQ-2 | Support for local start and stop
TC_004_1_CS Core | TC_004_1_CS | Core | Regular Charging Session – Identification First | C | C-07 AND C-08 | Support for local start and stop
TC_004_2_CS Core | TC_004_2_CS | Core | Regular Charging Session – Identification First - ConnectionTimeOut | C | C-07 | Support for local start
TC_068_CS Core | TC_068_CS | Core | Stop transaction - IdTag in StopTransaction matches IdTag in StartTransaction | C | C-07 AND C-08 | Support for local start and stop
TC_069_CS Core | TC_069_CS | Core | Stop transaction - ParentIdTag in StopTransaction matches ParentIdTag in StartTransaction | C | C-07 AND C-08 | Support for local start and stop
TC_005_1_CS Core | TC_005_1_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = true - UnlockConnectorOnEVSideDisconnect = true | C | NOT Product subtype Mode 1/2-only Charging Station AND NOT HFS-2 AND C.06.2 | StopTransactionOnEVSideDisconnect = true Condition: The Charge Point does not have a fixed cable on Charge Point side AND The configuration key StopTransactionOnEVSideDisconnect does NOT have the accessibility ReadOnly in combination with value false. Not applicable for product subtype Mode 1/2-only Charging Station.
TC_005_2_CS Core | TC_005_2_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = true - UnlockConnectorOnEVSideDisconnect = false | C | Product subtype Mode 1/2-only Charging Station OR C.06.2 | StopTransactionOnEVSideDisconnect = true Condition: The configuration key StopTransactionOnEVSideDisconnect does NOT have the accessibility ReadOnly in combination with value false. Mandatory for product subtype Mode 1/2-only Charging Station.
TC_005_3_CS Core | TC_005_3_CS | Core | EV Side Disconnected - StopTransactionOnEVSideDisconnect = false - UnlockConnectorOnEVSideDisconnect = false | C | NOT Product subtype Mode 1/2-only Charging Station AND C06.1 | StopTransactionOnEVSideDisconnect = false Not applicable for product subtype Mode 1/2-only Charging Station.
TC_007_CS Core | TC_007_CS | Core | Regular Start Charging Session – Cached Id | C | C-04 | Authorization Cache (AuthCacheEnabled)
TC_061_CS Core | TC_061_CS | Core | Clear Authorization Data in Authorization Cache | C | C-04 AND C-07 AND C-08 | Support for local start and stop AND Authorization Cache (AuthCacheEnabled)
TC_010_CS Core | TC_010_CS | Core | Remote Start Charging Session – Cable Plugged in First | C | NOT AQ-2
TC_011_1_CS Core | TC_011_1_CS | Core | Remote Start Charging Session – Remote Start First | M
TC_011_2_CS Core | TC_011_2_CS | Core | Remote Start Charging Session – Time Out | M
TC_012_CS Core | TC_012_CS | Core | Remote Stop Charging Session | M
TC_013_CS Core | TC_013_CS | Core | Hard Reset Without transaction | M
TC_014_CS Core | TC_014_CS | Core | Soft Reset Without Transaction | M
TC_015_CS Core | TC_015_CS | Core | Hard Reset With Transaction | M
TC_016_CS Core | TC_016_CS | Core | Soft Reset With Transaction | M
TC_017_1_CS Core | TC_017_1_CS | Core | Unlock connector - no charging session running (Not fixed cable) | C | HFS-1 AND NOT Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a detachable cable. Not applicable for product subtype Mode 1/2-only Charging Station.
TC_017_2_CS Core | TC_017_2_CS | Core | Unlock connector - no charging session running (Fixed cable) | C | HFS-2 OR Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a fixed cable. Mandatory for product subtype Mode 1/2-only Charging Station.
TC_018_1_CS Core | TC_018_1_CS | Core | Unlock Connector - With Charging Session (Not fixed cable) | C | HFS-1 AND NOT Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a detachable cable. Not applicable for product subtype Mode 1/2-only Charging Station.
TC_018_2_CS Core | TC_018_2_CS | Core | Unlock Connector - With Charging Session (Fixed cable) | C | HFS-2 OR Product subtype Mode 1/2-only Charging Station. | Only applicable for a Charge Point with a fixed cable. Mandatory for product subtype Mode 1/2-only Charging Station.
TC_019_CS Core | TC_019_CS | Core | Retrieve configuration | M
TC_021_CS Core | TC_021_CS | Core | Change/set Configuration | M
TC_070_CS Core | TC_070_CS | Core | Sampled Meter Values | M
TC_071_CS Core | TC_071_CS | Core | Clock-aligned Meter Values | M
TC_023_CS Core | TC_023_CS | Core | Start Charging Session – Authorize invalid | M
TC_024_CS Core | TC_024_CS | Core | Start Charging Session - Lock Failure | O | NOT HFS-2 | Only applicable if the Charge Point does not have a fixed cable on Charge Point side.
TC_026_CS Core | TC_026_CS | Core | Remote Start Charging Session – Rejected | M
TC_028_CS Core | TC_028_CS | Core | Remote Stop Transaction – Rejected | M
TC_030_CS Core | TC_030_CS | Core | Unlock Connector – Unlock Failure | O
TC_031_CS Core | TC_031_CS | Core | Unlock Connector – Unknown Connector | M
TC_032_1_CS Core | TC_032_1_CS | Core | Power failure boot charging point - configured to stop transaction(s) before going down | C | AQ-7.1 | Only applicable for a Charge Point configured to stop transaction(s) before going down.
TC_032_2_CS Core | TC_032_2_CS | Core | Power failure boot charging point-configured to stop transaction(s) | C | AQ-7.2 | Only applicable for a Charge Point configured to stop transaction(s) after going down and being back online again.
TC_034_CS Core | TC_034_CS | Core | Power Failure with Unavailable Status | M
TC_036_CS Core | TC_036_CS | Core | Connection Loss During Transaction | M
TC_037_1_CS Core | TC_037_1_CS | Core | Offline Start Transaction - Valid IdTag | C | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using valid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true
TC_037_2_CS Core | TC_037_2_CS | Core | Offline Start Transaction - Invalid IdTag - StopTransactionOnInvalidId = false | C | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using invalid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true, StopTransactionOnInvalidId = false Please note: as with all Charging Stations, this test case is also applicable for product subtype Mode 1/2-only Charging Station (depending on the above conditions).
TC_037_3_CS Core | TC_037_3_CS | Core | Offline Start Transaction - Invalid IdTag - StopTransactionOnInvalidId = true | C | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache. Using invalid idTag, AllowOfflineTxForUnknownId = true, LocalAuthorizeOffline = true, StopTransactionOnInvalidId = true
TC_038_CS Core | TC_038_CS | Core | Offline Stop Transaction | C | C-08 | Only applicable for a Charge Point which supports local stop transaction.
TC_039_CS Core | TC_039_CS | Core | Offline Transaction | C | C-01 AND C-07 AND C-08 | Only applicable for a Charge Point which supports local start/stop transaction and at least one of the following 3 functionalities: local authorization list feature profile, Unknown Offline Authorization or Authorization Cache.
TC_040_1_CS Core | TC_040_1_CS | Core | Configuration key - NotSupported | M
TC_040_2_CS Core | TC_040_2_CS | Core | Configuratoin key - Invalid value | M
TC_042_1_CS Core | TC_042_1_CS | Core | Get Local List Version (not supported) | C | If Local List not supported by Charging Station.
TC_042_2_CS Local Authorization List Management | TC_042_2_CS | Local Authorization List Management | Get Local List Version (empty) | M
TC_043_CS Local Authorization List Management | TC_043_CS | Local Authorization List Management | Send Local Authorization List | M
TC_043_1_CS Core | TC_043_1_CS | Core | Send Local Authorization List - NotSupported | C | If Local List not supported by Charging Station.
TC_043_2_CS Local Authorization List Management | TC_043_2_CS | Local Authorization List Management | Send Local Authorization List - VersionMismatch | M
TC_043_3_CS Local Authorization List Management | TC_043_3_CS | Local Authorization List Management | Send Local Authorization List - Failed | O
TC_008_CS Local Authorization List Management | TC_008_CS | Local Authorization List Management | Regular Start Charging Session – Id in Local Authorization List | M
TC_044_1_CS Firmware Management | TC_044_1_CS | Firmware Management | Firmware Update - Download and Install | C | NOT Security supported | Only applicable if the DUT does not support security. Should fail in case security supported.
TC_044_2_CS Firmware Management | TC_044_2_CS | Firmware Management | Firmware Update - Download Failed | C | NOT Security supported | Only applicable if the DUT does not support security.
TC_044_3_CS Firmware Management | TC_044_3_CS | Firmware Management | Firmware Update - Installation Failed | C | NOT Security supported | Only applicable if the DUT does not support security.
TC_045_1_CS Firmware Management | TC_045_1_CS | Firmware Management | Get Diagnostics | M
TC_045_2_CS Firmware Management | TC_045_2_CS | Firmware Management | Get Diagnostics - Upload Failed | M
TC_046_1_CS Reservation | TC_046_1_CS | Reservation | Reservation of a Connector - Local start transaction | C | C-07 | Only applicable for a Charge Point which supports local start transaction.
TC_046_2_CS Reservation | TC_046_2_CS | Reservation | Reservation of a Connector - Remote start transaction | M
TC_047_CS Reservation | TC_047_CS | Reservation | Reservation of a Connector - Expire | M
TC_048_2_CS Reservation | TC_048_2_CS | Reservation | Reservation of a Connector - Occupied | C | NOT AQ-2
TC_048_3_CS Reservation | TC_048_3_CS | Reservation | Reservation of a Connector - Unavailable | M
TC_048_4_CS Reservation | TC_048_4_CS | Reservation | Reservation of a Connector - Rejected | O
TC_049_CS Reservation | TC_049_CS | Reservation | Reservation of a Charge Point - Transaction | C | R-1 | Support reservations of entire Charging Station
TC_050_2_CS Reservation | TC_050_2_CS | Reservation | Reservation of a Charge Point - Occupied | C | R-1 AND NOT AQ-2 | Support reservations of entire Charging Station
TC_050_3_CS Reservation | TC_050_3_CS | Reservation | Reservation of a Charge Point - Unavailable | C | R-1 | Support reservations of entire Charging Station
TC_051_CS Reservation | TC_051_CS | Reservation | Cancel Reservation | M
TC_052_CS Reservation | TC_052_CS | Reservation | Cancel Reservation - Rejected | M
TC_053_CS Reservation | TC_053_CS | Reservation | Use a reserved Connector with parentIdTag | M
TC_054_CS Remote Trigger | TC_054_CS | Remote Trigger | Trigger Message | M
TC_055_CS Remote Trigger | TC_055_CS | Remote Trigger | Trigger Message - Rejected | M
TC_056_CS Smart Charging | TC_056_CS | Smart Charging | Central Smart Charging - TxDefaultProfile | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_057_CS Smart Charging | TC_057_CS | Smart Charging | Central Smart Charging - TxProfile | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_058_1_CS Smart Charging | TC_058_1_CS | Smart Charging | Central Smart Charging - No ongoing transaction | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_058_2_CS Smart Charging | TC_058_2_CS | Smart Charging | Central Smart Charging - Wrong transactionId | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_082_CS Smart Charging | TC_082_CS | Smart Charging | Central Smart Charging - TxDefaultProfile - with ongoing transaction | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_066_CS Smart Charging | TC_066_CS | Smart Charging | Get Composite Schedule | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_067_CS Smart Charging | TC_067_CS | Smart Charging | Clear Charging Profile | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_072_CS Smart Charging | TC_072_CS | Smart Charging | Stacking Charging Profiles | C | NOT Product subtype Mode 1/2-only Charging Station | Prerequisite: support for 2 stack levels is required. Not applicable for product subtype Mode 1/2-only Charging Station.
TC_059_CS Smart Charging | TC_059_CS | Smart Charging | Remote Start Transaction with Charging Profile | C | NOT Product subtype Mode 1/2-only Charging Station | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_062_CS Core | TC_062_CS | Core | Data Transfer to a Charge Point | M
TC_060_CS Smart Charging | TC_060_CS | Smart Charging | Remote Start Transaction with Charging Profile - Rejected | M |  | Not applicable for product subtype Mode 1/2-only Charging Station.
TC_073_CS Security extension | TC_073_CS | Security extension | Update Charge Point Password for HTTP Basic Authentication | C | Only applicable if the Charge Point supports security profile 1 or 2.
TC_074_CS Security extension | TC_074_CS | Security extension | Update Charge Point Certificate by request of Central System | C | Only applicable if the DUT supports security profile 3.
TC_075_1_CS Security extension | TC_075_1_CS | Security extension | Install a certificate on the Charge Point - ManufacturerRootCertificate | M
TC_075_2_CS Security extension | TC_075_2_CS | Security extension | Install a certificate on the Charge Point - CentralSystemRootCertificate | M
TC_076_CS Security extension | TC_076_CS | Security extension | Delete a specific certificate from the Charge Point | M
TC_077_CS Security extension | TC_077_CS | Security extension | Invalid ChargePointCertificate Security Event | C | Only applicable if the DUT supports security profile 3.
TC_078_CS Security extension | TC_078_CS | Security extension | Invalid CentralSystemCertificate Security Event | M
TC_079_CS Security extension | TC_079_CS | Security extension | Get Security Log | M
TC_080_CS Security extension | TC_080_CS | Security extension | Secure Firmware Update | M
TC_081_CS Security extension | TC_081_CS | Security extension | Secure Firmware Update - Invalid Signature | M
TC_083_CS Security extension | TC_083_CS | Security extension | Upgrade security profile | C | Only applicable if the DUT supports multiple security profiles
TC_084_CS Security extension | TC_084_CS | Security extension | Downgrade security profile - Rejected | C | Only applicable if the DUT supports multiple security profiles
TC_085_CS Security extension | TC_085_CS | Security extension | Basic Authentication - Valid username/password combination | C | Only applicable if the DUT supports security profile 1 or 2.
TC_086_CS Security extension | TC_086_CS | Security extension | TLS - server-side certificate - Valid certificate | C | Only applicable if the DUT supports security profile 2 or 3.
TC_087_CS Security extension | TC_087_CS | Security extension | TLS - Client-side certificate - valid certificate | C | Only applicable if the DUT supports security profile 3.

## HIDDEN features (hidden)
Feature | Certification Profile / security | Name | CS Status
C-01 | Core | Support for offline authorization of transactions | Optional. + Supporting this feature depends on whether at least one of the following is supported
C-02 | Core | Support for allowing Offline Authorization for Unknown Ids (AllowOfflineTxForUnknownId) | Optional
C-03 | Core | Support for maximizing energy for invalid ids (MaxEnergyOnInvalidId) | Optional
C-04 | Core | Authorization Cache (AuthCacheEnabled) | Optional
C-05 | Core | Support to limit StatusNotifications (MinimumStatusDuration) | Optional
C-06 | Core | Authorization status after cable disconnected on EV side (StopTxOnEVSideDisconnect) | (At least one of the suboptions below is required)
C-06.1 | Core | Support for maintaining authorization when cable disconnected on EV side | Optional
C-06.2 | Core | Support for not maintaining authorization when cable disconnected on EV side | Optional
C-07 | Core | Support for local start | Optional
C-08 | Core | Support for local stop | Optional
SEC-4 | Security | Supported Cipher Suites | { list of cipher suites } -> at least one of + TLS_ECDHE_ECDSA_WITH_AES_128_GCM_SHA256 + TLS_ECDHE_ECDSA_WITH_AES_256_GCM_SHA384 + OR + TLS_RSA_WITH_AES_128_GCM_SHA256 + TLS_RSA_WITH_AES_256_GCM_SHA384
SC-1 | Smart Charging | Supported charging rate units (ChargingScheduleChargingRateUnit) | (Select all supported suboptions)
SC-1.1 | Smart Charging | A | Optional
SC-1.2 | Smart Charging | W | Optional
R-1 | Reservations | Support reservations of entire Charging Station | Optional
F-1 | Firmware Management | Support for Secure Firmware Updates | Optional
SEC-1 | Security extension | Security Profile 1: Unsecured Transport with Basic Authentication | Optional
SEC-2 | Security extension | Security Profile 2: TLS (1.2 or higher) with Basic Authentication | Optional
SEC-3 | Security extension | Security Profile 3: TLS (1.2 or higher) with Client Side Certificates | Optional
C-09 | Core | Supported MeterValue Measurands | { list of supported } at least one
C-09.1 | Core | MeterValuesSampledData | { list of supported } at least one
| Core | StopTxnSampledData | { list of supported } at least one
C-09.2 | Core | MeterValuesAlignedData | { list of supported } at least one
| Core | StopTxnAlignedData | { list of supported } at least one

## MD (hidden)
Mandatory test for a mandatory feature | M | AC
Possibly mandatory, depending on your system | C | DC
Mandatory for optional feature | C | AC & DC
Optional test case | O